## 20201130_091509_001_Plate1
Plate information
Plate | Repeat | Barcode | Measured height | Chamber temperature at start | Chamber temperature at end | Humidity at start | Humidity at end | Ambient temperature at start | Ambient temperature at end | Formula | Measurement date
1 | 1 |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Calc 1: Crosstalk = Crosstalk correction where Label : Glo US LUM 384 (cps)(1) channel 1 | 2020-11-30 09:15
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
1 | Glo US LUM 384 (cps) | 0 | 20 | 0.1 | 0:00 | De=USLum Ex=N/A Em=N/A Wdw=N/A (12)
Calculated results: Calc 1: Crosstalk = Crosstalk correction where Label : Glo US LUM 384 (cps)(1) channel 1
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A |  | 600 | 760 | 760 | 520 | 1000 | 880 | 640 | 600 | 560 | 720 | 880 | 720 | 680 | 560 | 840 | 760 | 760 | 640 | 520 | 480 | 760 | 560
B |  | 600 | 720 | 560 | 600 | 600 | 720 | 520 | 520 | 680 | 1000 | 440 | 560 | 640 | 600 | 560 | 800 | 680 | 760 | 600 | 520 | 520 | 520
C |  | 720 | 440 | 360 | 360 | 360 | 360 | 400 | 1040 | 1120 | 1400 | 1400 | 480 | 400 | 400 | 440 | 480 | 440 | 600 | 760 | 1080 | 1400 | 520
D |  | 880 | 520 | 480 | 320 | 480 | 400 | 320 | 840 | 920 | 680 | 920 | 640 | 680 | 720 | 520 | 560 | 440 | 640 | 520 | 480 | 600 | 880
E |  | 640 | 480 | 400 | 1480 | 1000 | 400 | 360 | 600 | 680 | 920 | 560 | 1280 | 560 | 1240 | 520 | 440 | 400 | 480 | 440 | 440 | 680 | 560
F |  | 360 | 1280 | 1200 | 400 | 640 | 480 | 360 | 600 | 720 | 800 | 480 | 2000 | 1800 | 800 | 520 | 600 | 600 | 440 | 520 | 600 | 560 | 560
G |  | 1080 | 920 | 760 | 600 | 680 | 360 | 560 | 600 | 520 | 520 | 520 | 800 | 880 | 560 | 480 | 480 | 480 | 480 | 480 | 400 | 600 | 720
H |  | 440 | 640 | 440 | 680 | 480 | 560 | 440 | 600 | 640 | 520 | 480 | 720 | 600 | 680 | 440 | 480 | 440 | 520 | 680 | 440 | 560 | 600
I |  | 520 | 320 | 400 | 360 | 360 | 520 | 480 | 1880 | 1200 | 600 | 920 | 720 | 800 | 440 | 280 | 800 | 800 | 1920 | 1680 | 1200 | 1360 | 1520
J |  | 520 | 400 | 440 | 560 | 1160 | 720 | 480 | 800 | 560 | 480 | 720 | 720 | 1200 | 960 | 880 | 1000 | 1200 | 3720 | 3520 | 1720 | 1200 | 3280
K |  | 600 | 480 | 520 | 1080 | 640 | 400 | 520 | 520 | 600 | 600 | 400 | 2400 | 1840 | 8080 | 3400 | 3080 | 1440 | 2840 | 1960 | 3560 | 3560 | 1960
L |  | 520 | 1200 | 1120 | 600 | 480 | 360 | 560 | 520 | 480 | 760 | 480 | 1840 | 3320 | 5960 | 3360 | 1560 | 2040 | 5120 | 3600 | 4520 | 2800 | 2680
M |  | 520 | 880 | 560 | 560 | 520 | 560 | 560 | 480 | 520 | 520 | 1080 | 1320 | 1840 | 1480 | 3160 | 1080 | 920 | 5440 | 1760 | 1840 | 2040 | 3720
N |  | 520 | 560 | 720 | 560 | 600 | 480 | 520 | 600 | 520 | 360 | 520 | 1760 | 1840 | 1800 | 4040 | 1160 | 1880 | 2120 | 2680 | 2120 | 2240 | 1360
O |  | 560 | 680 | 400 | 480 | 520 | 440 | 680 | 520 | 480 | 400 | 600 | 2360 | 1880 | 2400 | 1800 | 4000 | 2400 | 2720 | 4080 | 2680 | 2960 | 960
P |  | 480 | 720 | 760 | 520 | 640 | 880 | 560 | 360 | 720 | 400 | 560 | 760 | 4840 | 2720 | 2040 | 2240 | 2920 | 2520 | 2600 | 3520 | 2360 | 2840
Plate information
Plate | Repeat | Barcode | Measured height | Chamber temperature at start | Chamber temperature at end | Humidity at start | Humidity at end | Ambient temperature at start | Ambient temperature at end | Group | Label | ScanX | ScanY | Measinfo | Kinetics | Measurement date
1 | 1 |  | 14.32 | 21.46 | 21.49 | 35.1 | 35.2 | 21.96 | 21.78 | 1 | Glo US LUM 384 (cps)(1) | 0 | 0 | De=USLum Ex=N/A Em=N/A Wdw=N/A (12) | 0 | 2020-11-30 09:15
Background information
Plate | Label | Result | Signal | Flashes/Time | Meastime | MeasInfo
1 | Glo US LUM 384 (cps) | 0 | 20 | 0.1 | 0:00 | De=USLum Ex=N/A Em=N/A Wdw=N/A (12)
Results for Glo US LUM 384 (cps)(1) - channel 0 (CPS)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A |  | 600 | 760 | 760 | 520 | 1000 | 880 | 640 | 600 | 560 | 720 | 880 | 720 | 680 | 560 | 840 | 760 | 760 | 640 | 520 | 480 | 760 | 560
B |  | 600 | 720 | 560 | 600 | 600 | 720 | 520 | 520 | 680 | 1000 | 440 | 560 | 640 | 600 | 560 | 800 | 680 | 760 | 600 | 520 | 520 | 520
C |  | 720 | 440 | 360 | 360 | 360 | 360 | 400 | 1040 | 1120 | 1400 | 1400 | 480 | 400 | 400 | 440 | 480 | 440 | 600 | 760 | 1080 | 1400 | 520
D |  | 880 | 520 | 480 | 320 | 480 | 400 | 320 | 840 | 920 | 680 | 920 | 640 | 680 | 720 | 520 | 560 | 440 | 640 | 520 | 480 | 600 | 880
E |  | 640 | 480 | 400 | 1480 | 1000 | 400 | 360 | 600 | 680 | 920 | 560 | 1280 | 560 | 1240 | 520 | 440 | 400 | 480 | 440 | 440 | 680 | 560
F |  | 360 | 1280 | 1200 | 400 | 640 | 480 | 360 | 600 | 720 | 800 | 480 | 2000 | 1800 | 800 | 520 | 600 | 600 | 440 | 520 | 600 | 560 | 560
G |  | 1080 | 920 | 760 | 600 | 680 | 360 | 560 | 600 | 520 | 520 | 520 | 800 | 880 | 560 | 480 | 480 | 480 | 480 | 480 | 400 | 600 | 720
H |  | 440 | 640 | 440 | 680 | 480 | 560 | 440 | 600 | 640 | 520 | 480 | 720 | 600 | 680 | 440 | 480 | 440 | 520 | 680 | 440 | 560 | 600
I |  | 520 | 320 | 400 | 360 | 360 | 520 | 480 | 1880 | 1200 | 600 | 920 | 720 | 800 | 440 | 280 | 800 | 800 | 1920 | 1680 | 1200 | 1360 | 1520
J |  | 520 | 400 | 440 | 560 | 1160 | 720 | 480 | 800 | 560 | 480 | 720 | 720 | 1200 | 960 | 880 | 1000 | 1200 | 3720 | 3520 | 1720 | 1200 | 3280
K |  | 600 | 480 | 520 | 1080 | 640 | 400 | 520 | 520 | 600 | 600 | 400 | 2400 | 1840 | 8080 | 3400 | 3080 | 1440 | 2840 | 1960 | 3560 | 3560 | 1960
L |  | 520 | 1200 | 1120 | 600 | 480 | 360 | 560 | 520 | 480 | 760 | 480 | 1840 | 3320 | 5960 | 3360 | 1560 | 2040 | 5120 | 3600 | 4520 | 2800 | 2680
M |  | 520 | 880 | 560 | 560 | 520 | 560 | 560 | 480 | 520 | 520 | 1080 | 1320 | 1840 | 1480 | 3160 | 1080 | 920 | 5440 | 1760 | 1840 | 2040 | 3720
N |  | 520 | 560 | 720 | 560 | 600 | 480 | 520 | 600 | 520 | 360 | 520 | 1760 | 1840 | 1800 | 4040 | 1160 | 1880 | 2120 | 2680 | 2120 | 2240 | 1360
O |  | 560 | 680 | 400 | 480 | 520 | 440 | 680 | 520 | 480 | 400 | 600 | 2360 | 1880 | 2400 | 1800 | 4000 | 2400 | 2720 | 4080 | 2680 | 2960 | 960
P |  | 480 | 720 | 760 | 520 | 640 | 880 | 560 | 360 | 720 | 400 | 560 | 760 | 4840 | 2720 | 2040 | 2240 | 2920 | 2520 | 2600 | 3520 | 2360 | 2840
Basic assay information
Assay ID: |  |  |  | 5911
Assay Started: |  |  |  | 2020-11-30 09:13
Assay Finished: |  |  |  | 2020-11-30 09:15
Assay Exported: |  |  |  | 2020-11-30 09:15
Protocol ID: |  |  |  | 100222
Protocol Name: |  |  |  | Luciferase 384_PF
Serial#: |  |  |  | 1041090
Protocol information
Protocol:
Protocol name |  |  |  | Luciferase 384_PF
Number of assay repeats |  |  |  | 1
Start assay repeat each |  |  |  | N/A
Number of plate repeats |  |  |  | 1
Start plate repeat each |  |  |  | N/A
Is label meas. height used |  |  |  | Yes
Height of measurement |  |  |  | Defined in label
Is gripper height used |  |  |  | No
Mode of measurement |  |  |  | By Rows bi-directional
Rotated plate |  |  |  | No
Soft move |  |  |  | No
Protocol notes
Plate type:
Name of the plate type |  |  |  | 384 General
Number of rows |  |  |  | 16
Number of columns |  |  |  | 24
Number of the wells in the plate |  |  |  | 384
Height of the plate |  |  |  | 14.35 mm
Coordinates of corners:
384 General
12.13 mm x------------------------------------------------------ x 115.63 mm
8.99 mm 8.99 mm
12.13 mm x------------------------------------------------------ x 115.63 mm
76.49 mm 76.49 mm
Platemap:
Plate |  |  |  | 1
Group |  |  |  | 1
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
B |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
C |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
D |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
E |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
F |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
G |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
H |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
I |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
J |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
K |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
L |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
M |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
N |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
O |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
P |  | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
- - Undefined
Calculations:
Plate |  |  |  | 1
Formula index |  |  |  | Calc 1
Formula name |  |  |  | Crosstalk
Formula |  |  |  | Crosstalk where Label : Glo US LUM 384 (cps)(1) channel 1
Auto export parameters:
Export format |  |  |  | Plate2
Include basic assay information |  |  |  | Yes
Place assay information at |  |  |  | End of file
Include basic plate information |  |  |  | Yes
Place plate information at |  |  |  | Beginning of plate
Include protocol information |  |  |  | Yes
Protocol info level |  |  |  | Large
Include error and warning information |  |  |  | Yes
Include background information |  |  |  | Yes
Add plate number to the file name |  |  |  | Yes
Each plate to separate file |  |  |  | Yes
Field separator to use |  |  |  | System
File name format |  |  |  | L:\Pat F\Luciferase Reads Coculture\<ProtocolName>\<Date>\<Date>_<Time>.csv
Operations:
Plate 1
Group 1
Measurement
Label |  |  |  | Glo US LUM 384 (cps)(1)
Labels:
Glo US LUM 384 (cps) |  |  |  | 7000015
Measurement height |  |  |  | 0.2 mm
Measurement time |  |  |  | 0.1 s
CT |  |  |  | 0
Aperture |  |  |  | 384 Plate US Luminescence aperture
Last edited |  |  |  | 2018-02-01 17:16
Last edited by |  |  |  | EnVision
Factory preset |  |  |  | No
Aperture:
384 Plate US Luminescence aperture |  |  |  | 9
Height |  |  |  | 4.2 mm
Diameter |  |  |  | 3.7 mm
Description |  |  |  | Can also be used in 96 plate
Last edited |  |  |  | 2016-02-29 12:06
Last edited by |  |  |  | Installation
Factory preset |  |  |  | Yes
Instrument:
Serial number |  |  |  | 1041090
Nickname |  |  |  | EnVision
Normalization:
Assay notifications:
WARNING: Warning while loading plate. Stacker out of plates. Plate 1 Plate Repeat 1 Well P02
Exported with EnVision Workstation version 1.13.3009.1401